## Slide 1: Past, present and future of the Generalized Optical Differentiation Wavefront sensor
Sebastiaan Haffert, Joost Wardenier, Rico Landman and Christoph Keller
Leiden Observatory, Leiden University

## Slide 3
Optical Differentiation Wavefront Sensor

## Slide 4
Foucault knife-edge test
Optical Differentiation

## Slide 5
Response
Input
Response
Input

## Slide 6
Response
Input
Response
Input

## Slide 7
Response
Input
Response
Input

## Slide 8
Hybrid amplitude mask

## Slide 9
Hybrid amplitude mask
Response
Input
Generalised optical differentiation wavefront sensor. Haffert 2016

## Slide 10
Hybrid amplitude mask
Response
Input
Generalised optical differentiation wavefront sensor. Haffert 2016

## Slide 11
Optical Differentiation Wavefront Sensor

## Slide 13: Leiden EXoplanet Instrument (LEXI)
Adaptive Optics
High-contrast imaging
High-resolution spectroscopy
Wavefront sensing
William Herschel Telescope
A path-finder for high-contrast spectroscopy instrumentation

## Slide 14: Leiden EXoplanet Instrument (LEXI)
Adaptive Optics
High-contrast imaging
High-resolution spectroscopy
Wavefront sensing
William Herschel Telescope
A path-finder for high-contrast spectroscopy instrumentation

## Slide 15
75 optical elements.
Set-up time of 5 days.

## Slide 16: Evolution of LEXI from AO to XAO
William Herschel Telescope
4.2m diameter
LEXI run June 2016
Palomar strategy:
Downscale aperture to create an XAO system
William Herschel Telescope
1.2m off-axis segment
LEXI run December 2017

## Slide 17: Why take an off-axis segment?
Better raw-contrast
  We can more easily test new coronagraphs
Single-mode fiber injection scales with Strehl
  Light gathering power versus coupling efficiency
  We lose a factor of 16 in light but we gain Strehl
No central obscuration

## Slide 18
Shack-Hartmann wavefront sensor
generalised Optical Differentiation wavefront sensor
AO speed: 500 Hz
Number of modes: 75-80
Alpao 97-15 DM
AO speed: 800 Hz
Number of modes: 96
Alpao 97-15 DM
Haffert 2016, Haffert et al. (in prep)

## Slide 19
Adaptive optics on
Adaptive optics off
50 Hz Imaging in R-band with 10 nm bandwidth

## Slide 20: PSF quality improvement

## Slide 22: Atmospheric refraction is limiting us

## Slide 23: Non-linear effects are important!
For high-contrast imaging we will not operate the WFS around its optimal performance point.
  We need to correct for NCPAs
If we go to lower wavelengths, there will be turbulence generated non-linearities
Residual atmospheric dispersion will also cause non-linearities
  Important for visible light HCI!

## Slide 24: Non-linear wavefront reconstruction
Forward modelling of full system (Frazin et al. 2018)
Optical gain tracking ( M. van Kooten 2016, V. Deo 2018)
Non-linear system identification with neural networks (R. Landman and S. Y. Haffert in prep).

## Slide 25: What is a neural network?
Input state
Wavefront
Response
Pupil images

## Slide 26: What is a neural network?
Input state
Wavefront
Response
Pupil images
Response

## Slide 27: What is a neural network?
Input state
Wavefront
Response
Pupil images
Response
Reconstruction

## Slide 28: What is a neural network?

## Slide 29: What is a neural network?
Effectively a neural network is just a
“non-linear interaction matrix”

## Slide 30
Rooftop wavefront sensor or Pyramid Wavefront sensor
Simulation

## Slide 31
Simulation

## Slide 32: Wavefront reconstruction in lab

## Slide 35: The combined performance

## Slide 36: Merge sensing and control with reinforced learning

## Slide 37: Predictive control with the g-ODWFS
A Data-Driven Closed-Loop Subspace Identification Approach
Step 1: Check if we can predict the turbulence using subspace identification
  This seems to work, we verified it with simulation and on-sky data.
Step 2: Combine the predictor with a spatio-temporal control matrix
  This works in simulation.

## Slide 38: Conclusion
The g-ODWFS’s first on-sky test has been successful
Neural networks can be used for non-linear wavefront reconstruction
The g-ODWFS performs better in the large aberration regime
  What is necessary for future XAO? Sensitivity or NCPA correction?
Merge sensing and control in one problem!
  Let the control algorithm learn from its mistakes.