## Slide 1: AO Calibration with Pyramid WFS: Focusing on the Mis-Registrations Identification
Cedric Taïssir Heritier
2nd year PhD Student
ESO: S. Oberti, P. Y. Madec, M. Kasper, C. Verinaud, J. Paufique, M. Le Louan, N. Cerpa, J. Kolb
LAM/ONERA: T. Fusco, B. Neichel, C. Correia, J. F. Sauvage
INAF: S. Esposito, R. Briguglio, G. Agapito, E. Pinna, A. Puglisi

## Slide 2: AO Calibration
Interaction Matrix
Calibrate how each WFS subaperture “sees” the DM actuators
Usually measured using external fiber.

## Slide 3: AO Calibration
Interaction Matrix
Calibrate how each WFS subaperture “sees” the DM actuators
Usually measured using external fiber.
Mis-Registrations
AO performance highly sensitive to mis-registrations
= rotation, shifts, anamorphosis of the DM actuators wrt the WFS.

## Slide 4: AO Calibration
Adaptive Telescope
Large DM located inside the telescope, far from the WFS.
Frequent evolution of mis-registrations due to flexure/gravity
They have to be compensated:
Re-alignment of the system
Update of the Interaction Matrix

## Slide 5: ELT Context
Complex models of DM and WFS
Adaptive Telescope with moving elements between DM and WFS
~5000 Actuators DM
No external calibration source upward M4
Credits: L. Calçada (ESO)

## Slide 6: ELT Context
No external calibration source upward M4
Complex models of DM and WFS
Adaptive Telescope with moving elements between DM and WFS
~5000 Actuators DM
Credits: L. Calçada (ESO)
Optimization of the calibration strategies required!

## Slide 7: AO Calibration
Pseudo - Synthetic Interaction Matrix (PSIM):
Generated from synthetic model of the AO systems injecting the correct mis-registrations parameters from experimental data.
Approach validated @AOF with SH-WFS¹ and @LBT with Pyramid-WFS²
¹ Oberti et al 2006, Kolb et al 2012
² Pinna et all 2012, Heritier et al 2018
Thank you OOMAO!

## Slide 8: AO Calibration
Pseudo - Synthetic Interaction Matrix (PSIM):
Generated from synthetic model of the AO systems injecting the correct mis-registrations parameters from experimental data.
Approach validated @AOF with SH-WFS¹ and @LBT with Pyramid-WFS²
Key-Ingredient = Tracking/Identification of the mis-registrations to regularly update the calibration.
¹ Oberti et al 2006, Kolb et al 2012
² Pinna et all 2012, Heritier et al 2018

## Slide 9: Mis-Registrations Identification
Invasive Approach: Dithering of a reference signal
What choice for this “reference signal”?
To maximize sensitivity to a given mis-registration => Principal Component Analysis (PCA) of sensitivity intMat

## Slide 10: Mis-Registrations Identification
Invasive Approach: Dithering of a reference signal
What choice for this “reference signal”?
To maximize sensitivity to a given mis-registration => Principal Component Analysis (PCA) of sensitivity intMat
SVD decomposition:
contains the commands to produce orthogonal modes in the DM space that are ordered according to the sensitivity to the perturbation .

## Slide 11: Mis-Registrations Identification
Invasive Approach: Dithering of a reference signal
“PCA Modes” example ( 32*32 Cartesian DM, 40*40 PWFS)
Rotation Shift X Shift Y Magn. Mx Magn. My
=> Includes both spatial sampling (DM and WFS).

## Slide 12: Mis-Registrations Identification
Non Invasive Approach (AOF strategy)
Reconstruct the interaction matrix from closed loop data
Project this CL interaction matrix on sensitivity matrices

## Slide 13: Mis-Registrations Identification
Reconstruction of the Interaction Matrix from CL data
AO equation (loop ):
WFS signal = intMat x DM command + noise + turbulence
To average the noise, we concatenate a large number N of WFS increment signals and DM increment commands in two buffers and .
An estimation of the Interaction Matrix is then given by:

## Slide 14: Mis-Registrations Identification
Reconstruction of the Interaction Matrix from CL data
Example (40 000 frames)
Reference IMat from CL
Slope X
Slope Y

## Slide 15: Mis-Registration Identification
:
Step 0: Generation of the sensitivity matrices around using a step .
Computation of the Projector .
Mis-Registration Identification from an Interaction Matrix

## Slide 16: Mis-Registration Identification
:
:
Step 0: Generation of the sensitivity matrices around using a step .
Computation of the Projector .
Mis-Registration Identification from an Interaction Matrix
Step 1: Estimation of the Interaction Matrix of the system

## Slide 17: Mis-Registration Identification
:
:
Step 0: Generation of the sensitivity matrices around using a step .
Computation of the Projector .
Step 2: Estimation of the mis-registrations using and .
Mis-Registration Identification from an Interaction Matrix
Step 1: Estimation of the Interaction Matrix of the system

## Slide 18: Mis-Registration Identification
:
:
Step 0: Generation of the sensitivity matrices around using a step .
Computation of the Projector .
Step 2: Estimation of the mis-registrations using and .
Step 3: Update of using the new mis-registrations parameters .
Mis-Registration Identification from an Interaction Matrix
Step 1: Estimation of the Interaction Matrix of the system

## Slide 19: Mis-Registration Identification
:
:
Step 0: Generation of the sensitivity matrices around using a step .
Computation of the Projector .
Step 2: Estimation of the mis-registrations using and .
Step 3: Update of using the new mis-registrations parameters .
Step 4: Update of using the new working point if necessary.
Mis-Registration Identification from an Interaction Matrix
Step 1: Estimation of the Interaction Matrix of the system

## Slide 20: Mis-Registration Identification
Mis-Registration Identification from an Interaction Matrix
23/10/2018
20
23/10/2018
20
is a noise-free Interaction Matrix
Large Mis-Registrations
No update of the working point (solid line)

## Slide 21: Mis-Registration Identification
Mis-Registration Identification from an Interaction Matrix
23/10/2018
21
23/10/2018
21
is a noise-free Interaction Matrix
Large Mis-Registrations
No update of the working point (solid line)
Update of the working point (dashed line)

## Slide 22: Mis-Registrations Identification
Mis-Registration Identification from an Interaction Matrix
is an interaction Matrix obtained from CL data
Small Mis-Registrations
No Update of the working point

## Slide 23: Mis-Registrations Identification
Interaction Matrix from closed loop data (AOF strategy)
Current work on going to fully characterize this approach
Number of frames required ?
Impact of WFS noise? Impact of seeing? Impact of WFE?
Definition of a sensitivity matrix Single or ramp value for
Single Layer atmosphere simulation - Wind as a bias on the mis-registration estimation?
Non integer delay case?
23/10/2018
23
23/10/2018
23

## Slide 24: Mis-Registrations Identification
Interaction Matrix from closed loop data (AOF strategy)
Current work on going to fully characterize this approach
Optimizations on going:
Windowing of the WFS signals: x
Modal space reduction: consider optimal modal basis for identification algorithm. Projection on PCA modes? First promising results
23/10/2018
24
23/10/2018
24

## Slide 25: Lab Activity: High Order Test Bench @ESO
HOT Test-Bench
New set-up fot the High Order Test-Bench @ ESO
new calibrations on-going.
Synthetic Calibration – On-Going
Experimental validation of Mis-Registration identification strategies studied in simulator.
See M. Kasper talk on Wednesday

## Slide 26: Lab Activity
HOT Test-Bench
New set-up fot the High Order Test-Bench @ ESO
new calibrations on-going.
Synthetic Calibration – On-Going
First promising results – controlling 100 modes
Synthetic Experimental

## Slide 27: Conclusion
There are plenty of things to look at!
The AO calibration for the future ELT instrument will require optimized strategies that will most likely be based on synthetic models of the AO systems.
One of the key element will be the update of the Interaction Matrix by monitoring and tracking the mis-registrations parameters.
I still have ~ 1 year to look at this thoroughly, working with OOMAO & the HOT Test Bench!
Thank you for your attention!

## Slide 28: Mis-Registrations sensitivity analysis
Influence Function Mechanical Coupling (LBT-like system)

## Slide 29: Mis-Registrations sensitivity analysis
WFS sampling vs DM (fixed) Geometry

## Slide 30: Anamorphosis